## Slide 1
Spectroscopy
Chapter 1
Advanced
Organic Chemistry

## Slide 2
Infrared Spectroscopy
The infrared (IR) region of the electromagnetic spectrum covers the range from just above the visible (7.8  10‒5 cm) to ⁓10‒2 cm, but only the midportion from 2.5  10‒4 cm to 2.5  10‒3 cm is used by organic chemists.
So, the useful IR region is from 4000 to 400 cm‒1.

## Slide 3
When infrared light radiations between 4000 – 400 cm-1 are passed through a sample of an organic compound, some of these radiations are absorbed by the sample and are converted into energy of molecular vibrations.
When the radiant energy matches the energy of a specific molecular vibration, absorption occurs.
Infrared Spectroscopy

## Slide 4
IR Absorbance Spectrum
An IR spectrometer measures the percent transmittance as a function of frequency.
The plot of % transmittance against wavenumber (cm‒1) is called the infrared spectrum of the compound.
The presence of such characteristic vibrational bands in an infrared spectrum indicates the presence of specific bonds in the sample under investigation

## Slide 5
Lets have a look at the molecular structure of ethanol and how it generates an IR spectrum.
IR Absorbance Spectrum
Ethanol has a number of different types of covalent bonds, namely:
O—H
C—H
C—C
C—O
Each bond has its characteristic wavelength which it absorbs in order to stretch or bend.

## Slide 6
Stretching and Bending Vibration
A bond vibrates with both stretching and bending motions:
A stretch is a vibration occurring along the line of the bond; a stretching vibration changes the bond length.
A bend is a vibration that does not occur along the line of the bond; a bending vibration changes the bond angle.
A diatomic molecule such as H—Cl can undergo only a stretching vibration because it has no bond angles.
H2O (triatomic molecule) can undergo both stretching and bending vibrations.

## Slide 7
So, the vibrations of a molecule containing three or more atoms are more complex because they include stretching and bending.
Stretching and Bending Vibration
Symmetric
Stretch.
Asymmetric
Stretch.
⁓2872 cm‒1
⁓2962 cm‒1
Stretching Vibrations
The stretching vibrations, moreover, can be symmetric or asymmetric.

## Slide 8
The bending vibrations can be either in-plane or out-of-plane.
Bending vibrations are often referred to by the terms rock, scissor, wag, and twist.
Bending Vibrations
Stretching and Bending Vibration

## Slide 9
(a) Symmetric stretching
(b) Asymmetric stretching
1. Stretching Vibrations
2. Bending Vibrations
(a) In-plane bending
Scissoring
Rocking
Twisting
Wagging
(b) Out-of-plane bending
Stretching and Bending Vibration

## Slide 10
Molecular vibrations which will lead to a change in the dipole moment of the molecule will give rise to absorption bands in the infrared.
Symmetric bonds, such as those of H2 or Cl2, do not absorb infrared radiation.
Asymmetric Stretch.
Symmetric Stretch.
Bending
Not All Bond Vibrations are IR Active

## Slide 11
Characteristic Infrared Absorptions of Some Functional Groups

## Slide 12
Characteristic Infrared Absorptions of Some Functional Groups
The stretching frequencies of groups such as C-H, N-H, and O-H all occur at relatively high frequencies:
The triple bonds vibrate at higher frequencies than double bonds:

## Slide 13
The stretching frequency of a bond can be approximated by Hooke’s Law. In this approximation, two atoms and the connecting bond are treated as a simple harmonic oscillator composed of 2 masses (atoms) joined by a spring:
According to Hooke’s law, the natural frequency of vibration of a bond is given by the equation:
Hooke’s Law
where
K = the force constant
μ = the reduced mass
= the wavenumber of the vibration

## Slide 14
The Hooke’s Law expression given earlier may be transformed into a very useful equation as follows:
Where
Hooke’s Law
= the wavenumber of the vibration (cm‒1)
K = the force constant (dynes/cm)
c = the velocity of light = 3  1010 cm/s

## Slide 15
The Functional Group & Fingerprint Regions
An infrared spectrum can be divided into two areas:
The area on the left (4000‒1400 cm‒1) is where most of the functional groups show absorption bands. This is called the functional group region.
The area on the right (1400‒600 cm‒1) is called the fingerprint region.

## Slide 16
The fingerprint region of IR spectrum is characteristic of the compound as a whole, just as a fingerprint is characteristic of an individual.
The Fingerprint Regions

## Slide 17
Even if Two Different Molecules have the same functional groups, their IR Spectra will not be Identical